## 42
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/42
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0