## 1
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/01
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 2
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/02
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 3
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/03
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 4
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/04
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 5
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/05
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 6
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/06
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 7
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/07
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 8
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/08
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 9
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Khyati
Serial number |  | GP-3/MS/09
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 10
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Y+L- Japan
Serial number |  | GP-3/MS/10
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 11
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/11
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 100 mm | 100 | 0 | Pass | Kapila Barad
2 | 150 mm | 150 | 0
3 | 250 mm | 250 | 0
4 | 350 mm | 350 | 0
5 | 450 mm | 450 | 0
6 | 490 mm | 490 | 0

## 12
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/12
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 100 mm | 100 | 0 | Pass | Kapila Barad
2 | 200 mm | 200 | 0
3 | 300 mm | 300 | 0
4 | 400 mm | 400 | 0
5 | 500 mm | 500 | 0
6 | 490 mm | 590 | 0

## 13
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/13
Range |  | 0-300mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 100 mm | 100 | 0 | Pass | Kapila Barad
2 | 200 mm | 200 | 0
3 | 300 mm | 300 | 0
4 | 400 mm | 400 | 0
5 | 500 mm | 500 | 0
6 | 490 mm | 590 | 0

## 14
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/14
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 15
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/15
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 16
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Sakshi
Serial number |  | GP-3/MS/16
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 17
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/17
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 18
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/18
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 19
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Khyati
Serial number |  | GP-3/MS/19
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 20
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/20
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 21
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 23.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/21
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 22.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 22
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen |  |  |  | Vikram bhai- Screen printing
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/22
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 23
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/23
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## Sheet15
GP-3/MS/01 |  | GP-3/MS/23
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/02 |  | GP-3/MS/09
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/03 |  | GP-3/MS/10
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/04 |  | GP-3/MS/11
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/05 |  | GP-3/MS/12
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/06 |  | GP-3/MS/13
Master calibrator reading | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/07 |  | GP-3/MS/14
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/15 |  | GP-3/MS/16
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/17 |  | GP-3/MS/18
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025
GP-3/MS/19 |  | GP-3/MS/20
Verification date | 24.09.2024 | Verification date | 24.09.2024
Verification due date | 23.09.2025 | Verification due date | 23.09.2025

## Sheet15 (2)
GP-3/MS/01 |  | GP-3/MS/08
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/02 |  | GP-3/MS/09
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/04 |  | GP-3/MS/11
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/05 |  | GP-3/MS/12
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/06 |  | GP-3/MS/13
Master calibrator reading | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/07 |  | GP-3/MS/14
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/03 |  | GP-3/MS/10
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022

## Sheet15 (5)
GP-3/MS/15 |  | GP-3/MS/16
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/02 |  | GP-3/MS/09
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/03 |  | GP-3/MS/10
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/04 |  | GP-3/MS/11
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/05 |  | GP-3/MS/12
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/06 |  | GP-3/MS/13
Master calibrator reading | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/07 |  | GP-3/MS/14
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/15 |  | GP-3/MS/16
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/17 |  | GP-3/MS/18
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/19 |  | GP-3/MS/20
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024

## Sheet15 (3)
Inst. ID | QC-48 | GP-3/MS/08
Ref. No. | CAL/LPI/GP-21/26 | Verification date | 05.12.2021
Test Date | 26.09.2022
Due Date | 25.09.2023 | Verification due date | 04.12.2022
GP-3/MS/08 |  | GP-3/MS/09
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/11 |  | GP-3/MS/11
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/12 |  | GP-3/MS/12
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
Master calibrator reading |  | GP-3/MS/13
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/14 |  | GP-3/MS/14
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/10 |  | GP-3/MS/10
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/09
Verification date | 05.12.2021
Verification due date | 04.12.2022

## Sheet15 (4)
GP-3/MS/08 |  | Inst. ID | QC-48
Verification date | 05.12.2021 | Ref. No. | CAL/LPI/GP-21/26
Verification due date | 04.12.2022 | Test Date | 26.09.2022
|  | Due Date | 25.09.2023
GP-3/MS/09
Verification date | 05.12.2021
Verification due date | 04.12.2022
GP-3/MS/11 |  | GP-3/MS/11
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/12 |  | GP-3/MS/12
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/13 |  | GP-3/MS/13
Master calibrator reading | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/14 |  | GP-3/MS/14
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/10 |  | GP-3/MS/10
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022

## Sheet1
Master calibrator reading

## 24
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/24
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 25
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/25
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 26
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/26
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 27
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/27
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 28
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/28
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 29
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/29
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 30
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/30
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 31
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/31
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 32
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/32
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 33
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Karsteol
Serial number |  | GP-3/MS/33
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 34
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/34
Range |  | 0-1000 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 100 mm | 100 | 0 | Pass | Kapila Barad
2 | 150 mm | 150 | 0
3 | 250 mm | 250 | 0
4 | 350 mm | 350 | 0
5 | 450 mm | 450 | 0
6 | 490 mm | 490 | 0

## 35
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/35
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 100 mm | 100 | 0 | Pass | Kapila Barad
2 | 200 mm | 200 | 0
3 | 300 mm | 300 | 0
4 | 400 mm | 400 | 0
5 | 500 mm | 500 | 0
6 | 490 mm | 590 | 0

## 36
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/36
Range |  | 0-600mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 100 mm | 100 | 0 | Pass | Kapila Barad
2 | 200 mm | 200 | 0
3 | 300 mm | 300 | 0
4 | 400 mm | 400 | 0
5 | 500 mm | 500 | 0
6 | 490 mm | 590 | 0

## 37
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Alpha
Serial number |  | GP-3/MS/37
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 38
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/38
Range |  | 0-1200 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2025
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 39
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/39
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 40
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/40
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 41
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 22.09.2025
Calibration due date |  | 21,.09.2026
Calibration report number |  | CAL/LPI/GP-25/27
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta (Elora)
Serial number |  | GP-3/MS/41
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 25.09.2025
Calibration due date |  | 24.09.2026
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 42
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/42
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 43
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/43
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## 44
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/44
Range |  | 0-300 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## Sheet15 (6)
GP-3/MS/01 |  | GP-3/MS/11 |  | GP-3/MS/21 |  | GP-3/MS/31
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/02 |  | GP-3/MS/12 |  | GP-3/MS/22 |  | GP-3/MS/32
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/03 |  | GP-3/MS/13 |  | GP-3/MS/23 |  | GP-3/MS/33
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/04 |  | GP-3/MS/14 |  | GP-3/MS/24 |  | GP-3/MS/34
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/05 |  | GP-3/MS/15 |  | GP-3/MS/25 |  | GP-3/MS/35
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/06 |  | GP-3/MS/16 |  | GP-3/MS/26 |  | GP-3/MS/36
Master calibrator reading | 25.09.2026 | Verification date | 25.09.2026 | Master calibrator reading | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/07 |  | GP-3/MS/17 |  | GP-3/MS/27 |  | GP-3/MS/37
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/08 |  | GP-3/MS/18 |  | GP-3/MS/28 |  | GP-3/MS/38
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/09 |  | GP-3/MS/19 |  | GP-3/MS/29 |  | GP-3/MS/39
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/10 |  | GP-3/MS/20 |  | GP-3/MS/30 |  | GP-3/MS/40
Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026 | Verification date | 25.09.2026
Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026 | Verification due date | 24.09.2026
GP-3/MS/41
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/42
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/43
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/44
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/45
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/46
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/47
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/48
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/49
Verification date | 25.09.2026
Verification due date | 24.09.2026
GP-3/MS/50
Verification date | 25.09.2026
Verification due date | 24.09.2026

## Sheet2 (2)
Master calibrator reading

## Sheet15 (7)
GP-3/MS/01 |  | GP-3/MS/08
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/02 |  | GP-3/MS/09
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/04 |  | GP-3/MS/11
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/05 |  | GP-3/MS/12
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/06 |  | GP-3/MS/13
Master calibrator reading | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/07 |  | GP-3/MS/14
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/03 |  | GP-3/MS/10
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022

## 40 (3)
GUJARAT PRINT PACK PUBLICATION PRIVATE LIMITED |  |  |  |  | F/QC/17 (00/01.12.2021)
Measuring Scale (Ruler) Internal Verification Record
Master Measuring Scale (Ruler) Details
Make |  | Kristeen
Serial number |  | QC-44
Range |  | 0 - 600 mm
Least count |  | 1 mm
Calibration date |  | 23.09.2024
Calibration due date |  | 22.09.2025
Calibration report number |  | CAL/LPI/GP-23/23
Measuring Scale (Ruler) under calibration details
Make |  | Ajanta
Serial number |  | GP-3/MS/40
Range |  | 0-600 mm
Least count |  | 1 mm
Calibration date |  | 24.09.2024
Calibration due date |  | 23.09.2025
Accetable tolerance |  | + / - 1 mm
# | Master calibrator reading | Observed reading (mm) | Difference | Status (Pass/Fail) | Calibration performed by
1 | 50 mm | 50 | 0 | Pass | Kapila Barad
2 | 100 mm | 100 | 0
3 | 150 mm | 150 | 0
4 | 200 mm | 200 | 0
5 | 250 mm | 250 | 0
6 | 290 mm | 290 | 0

## Sheet15 (8)
GP-3/MS/15 |  | GP-3/MS/16
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/02 |  | GP-3/MS/09
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/03 |  | GP-3/MS/10
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/04 |  | GP-3/MS/11
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/05 |  | GP-3/MS/12
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/06 |  | GP-3/MS/13
Master calibrator reading | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/07 |  | GP-3/MS/14
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/15 |  | GP-3/MS/16
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/17 |  | GP-3/MS/18
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024
GP-3/MS/19 |  | GP-3/MS/20
Verification date | 26.09.2023 | Verification date | 26.09.2023
Verification due date | 25.09.2024 | Verification due date | 25.09.2024

## Sheet15 (9)
Inst. ID | QC-48 | GP-3/MS/08
Ref. No. | CAL/LPI/GP-21/26 | Verification date | 05.12.2021
Test Date | 26.09.2022
Due Date | 25.09.2023 | Verification due date | 04.12.2022
GP-3/MS/08 |  | GP-3/MS/09
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/11 |  | GP-3/MS/11
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/12 |  | GP-3/MS/12
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
Master calibrator reading |  | GP-3/MS/13
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/14 |  | GP-3/MS/14
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/10 |  | GP-3/MS/10
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/09
Verification date | 05.12.2021
Verification due date | 04.12.2022

## Sheet15 (10)
GP-3/MS/08 |  | Inst. ID | QC-48
Verification date | 05.12.2021 | Ref. No. | CAL/LPI/GP-21/26
Verification due date | 04.12.2022 | Test Date | 26.09.2022
|  | Due Date | 25.09.2023
GP-3/MS/09
Verification date | 05.12.2021
Verification due date | 04.12.2022
GP-3/MS/11 |  | GP-3/MS/11
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/12 |  | GP-3/MS/12
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/13 |  | GP-3/MS/13
Master calibrator reading | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/14 |  | GP-3/MS/14
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022
GP-3/MS/10 |  | GP-3/MS/10
Verification date | 05.12.2021 | Verification date | 05.12.2021
Verification due date | 04.12.2022 | Verification due date | 04.12.2022

## Sheet1 (2)
Master calibrator reading

## 22 (4)
K.B. Barad |  | K.B. Barad
K.B. Barad |  | K.B. Barad
K.B. Barad |  | K.B. Barad
K.B. Barad |  | K.B. Barad
Master calibrator reading

## 22 (2)
K.B. Barad |  | K.B. Barad
K.B. Barad |  | K.B. Barad
K.B. Barad |  | K.B. Barad
K.B. Barad |  | K.B. Barad
Master calibrator reading

## Sheet2
Master calibrator reading